Step 1: BIM Modeling (with Real-Time Integration)

Create a precise 3D model of the room using BIM, capturing geometry and material properties. This model is visualized in VR and synced in real-time.

Real-Time Update: The collected sensor data is fed instantly into the Digital Twin, updating its virtual state.

Step 2: IoT Data Collection

Deploy multi-sensors to continuously measure temperature, humidity, luminosity, occupancy (count), and equipment status (e.g., computers).

Step 3: Investigate smart app to integrate AI,DT and Carbon Audit

Create an interface that gets the data from DT, providing those data to AI and process carbon audit. Showing the results through the interface and allowing human feedback.

Step 4: AI Carbon & Efficiency Calculation

The AI accesses both real-time data from the Digital Twin and historical data. Providing the formula to AI and calculating the current CO2e footprint and energy efficiency.

Step 5: Automated Data Storage

Simultaneously, the sensor data is logged and organized (e.g., in Excel or a database) for historical analysis.

Step 6: Generate Recommendations

Based on the current situation (e.g., high occupancy, bright sun), the AI generates specific energy-saving recommendations (e.g., adjust HVAC, dim lights).

Step 7: Human Comfort Evaluation & AI Model Refinement

Evaluate vs. Human Comfort: The recommended actions are presented to the occupants. The key question is asked:

“Are these optimized strategies acceptable for human comfort?”

Yes → Proceed to action.

No → The occupants provide feedback on why (e.g., “Too hot,” “Too dim”).

AI Model Refinement: The occupant feedback (balancing comfort vs. carbon) is fed back into the AI. The model learns to adjust future recommendations to better align with comfort levels.

Step 7: Continuous Monitoring & Feedback

Human occupants can continuously monitor the room status and AI reports, providing ongoing feedback through the application, closing the loop back to Step 4.